# Lab 4 – The Photoelectric Effect

## Objectives

- Use diffraction gratings for spectroscopy.

- Identify the different characteristics of the photoelectric effect.

- Design experiments to measure constants and to explore functional relationships in the photoelectric effect.

## Lab Overview

In the previous lab we explored the wave nature of light.  In this lab we will explore the particle nature of light.  In particular, we will explore the photoelectric effect, observe the features that support the particle nature, and measure Planck’s constant, one of the fundamental constants of the universe.

## Equipment

| - Optical bench with bench stands | - Spectrometer Scale |
| --- | --- |
| - Diffraction Grating | - Red, Green, and Blue LEDs |
| - Red diode laser pointer (λ = 635 nm) | - Green diode laser pointer (λ = 532 nm) |
| - Violet diode laser pointer (λ = 405 nm) | - Slide Holder |
| - Optika Photoelectric Effect Sensor | - Optika Controller |
| - Diverging lens (f = -25 cm) | - Table stand with clamps to hold LEDs |

## What to Turn In

For Experiments 1, 2, and 3, you should submit your answers as you would a normal homework assignment or Tier 1 lab.  You will submit a lab report (Tier 2) for Experiments 4 and 5.

## Theory and Background

### Introduction

In the last lab we studied behavior of light that would only be possible if light were a wave.  However, certain experimental results in the late 19th and early 20th centuries were inconsistent with the theoretical predictions of the wave theory of light, including the observed spectrum of blackbody radiation (which led to the so-called ultraviolet catastrophe of classical physics), the observed atomic emission and absorption spectra, the observed wavelength shift in the Compton effect, and the counterintuitive results of the photoelectric effect.

### Diffraction Gratings

A diffraction grating is an extension of the double-slit setup with many tightly spaced thin openings.  We will use a diffraction grating in this lab to study the spectra of certain LEDs.  The total width of the grating is a, and there are N slits each separated by a distance d.  Therefore, a = Nd.  We often talk about gratings using the quantity N/a = 1/d, the number of slits per unit length.  We can think of this pattern as the limit of the multiple thin-slit pattern described in the previous labs as the number of slits N grows large.

The diffraction pattern is characterized by a few very sharp bright spots (the maxima) separated by large areas of darkness.  The locations of the diffraction pattern maxima are given by:

| Maxima: |  | sin θ = ±mλ/d. | (1) |
| --- | --- | --- | --- |

### Photons

The key to explaining these effects lies in quantization of energy - the idea that the energy can only take on certain, discrete values depending on the system.  In 1900 Max Planck proposed that the energy of light was quantized according to nhf, where n is an integer, f is the frequency of the light, and h is Planck’s constant,

| h = 6.626×10-34 J⋅s = 4.136×10-15 eV⋅s, | (2) |
| --- | --- |

where eV stands for an electronvolt - a unit of energy equal to one electron’s worth of charge times one volt, 1 eV = 1.602×10-19 J.  Planck’s constant is now considered one of the fundamental constants of the universe and shows up whenever quantum effects are happening.  The quantization of light energies nicely solved the ultraviolet catastrophe and the prediction of the blackbody spectrum with this hypothesis matched the experimentally observed spectrum.

When he first proposed the quantization hypothesis, Planck believed that he was just using some abstract mathematical tool to make things work out.  It wasn’t until Albert Einstein’s 1905 paper on the photoelectric effect that the particle nature of light was resurrected.  Each “quantum” of light was interpreted as a massless particle called a photon.  A photon for light of frequency f and wavelength in vacuum λ = c/f has an energy and momentum given by

| E=hf=hcλ, p=Ec=hλ. | (3) |
| --- | --- |

The combination hc is very important in spectroscopy.  Since we typically measure wavelengths in nm and photon energies in eV, it is convenient to have the value of the combination hc in units of eV⋅nm:

.  hc = 1239.8 eV⋅nm  .

The visible wavelength range is roughly 390 nm (violet) to 700 nm (red).  Using Eq. 3, this corresponds to photon energies of roughly 1.7 eV (red) to 3.2 eV (violet).

### The Photoelectric Effect

In 1887, Heinrich Hertz discovered that when electromagnetic waves were incident on a coil with a spark gap a small spark was produced.  He further discovered that the presence of ultraviolet (UV) light allowed the spark to form more easily. This discovery, the first hint of the photoelectric effect, immediately led to many more observations.  Early experiments with electroscopes showed that UV light caused negatively charged metals to rapidly lose their charge, caused neutral metals to gain a slight positive charge, and had no observable effect on positively charged metals.  We now know that this is due to the incident light causing electrons to be emitted from the metal.  In the context of the photoelectric effect, these emitted electrons are called photoelectrons and the movement of the photoelectrons is called the photocurrent.

In subsequent years the following observations were made about the photoelectric effect:

- There is a threshold frequency, f0, for the effect.  If the frequency of incident light is below the threshold, no photoelectrons are emitted.  A photocurrent can only be observed if f > f0.

- Above the threshold frequency, the emitted photoelectrons have a maximum kinetic energy that is linearly dependent on the frequency.

- The maximum kinetic energy of photoelectrons is independent of the intensity of the incident light.

- At a given frequency, the magnitude of the photocurrent is directly proportional to the intensity of the light and independent of frequency.

- There is virtually no delay between the incidence of light and the production of the photocurrent (typically less than a nanosecond).

The linear relationship between the maximum kinetic energy Kmax of the photoelectrons and the frequency f of the incident light is usually expressed as

| Kmax =hf-f0=hf-ϕ. | (4) |
| --- | --- |

In this formula, h is Planck’s constant, f0 is the threshold frequency, and ϕ ≡ hf0 is the work function of the material.  The work function represents the minimum amount of energy needed to free an electron from the material (similar to how the ionization energy represents the minimum amount of energy needed to remove an electron from an atom).  Note that some electrons are more strongly bound to the material than others (think of the difference between a valence and a core electron in an atom) and therefore some electrons will need more energy to be freed from the material.

The particle picture of light naturally explains all of the observed features of the photoelectric effect.  Consider the energy diagram shown to the right, which shows the material as a “well” with the vertical axis representing energy.  We view the incident light of frequency f as being made of a large number of photons, each of energy hf.  When a photon strikes an electron in the material it gives all of its energy to the electron.  If the photon’s frequency is below f0 then the photon’s energy is less than ϕ and the electron can’t gain enough energy to escape the well of the material.  On the other hand, if the photon’s frequency is above the f0 then it has more than the minimum energy needed to liberate an electron.  Any excess energy goes into the kinetic energy of the electron.  Eq. 4 is simply a statement about conservation of energy.

Eq. 4 actually represents a prediction of Einstein’s based on Philipp Lenard’s 1902 qualitative observation that photoelectron energy increases with light frequency.  It wasn’t verified until Robert Millikan’s experiment in 1914, a version of which we will perform in this lab!  Millikan’s experiment is based on the circuit schematic shown in Figure 1.  The main feature is a vacuum phototube containing a photocathode made of a photoelectric material and an anode.  When light strikes the photocathode, photoelectrons are emitted and then collected by the anode to form a current.  Note that this current depends both on the rate at which photoelectrons strike the anode and the speed of the electrons.  In the absence of a voltage across the phototube the photoelectron’s kinetic energy would remain constant (we use a vacuum tube to avoid energy loss due to collisions).  For the Millikan experiment we put an opposing voltage across the phototube.  This gives the cathode a high potential and the anode a low potential.  As the photoelectrons travel from the cathode to the anode, some of their kinetic energy must be converted to potential energy.  If the opposing voltage is high enough, none of the electrons would have enough initial kinetic energy to reach the anode and the photocurrent would drop to zero.  The minimum voltage that completely stops the photocurrent is called the stopping voltage, Vstop.  By conservation of energy,

| Kmax = eVstop. | (5) |
| --- | --- |

Figure 1.  A circuit schematic showing the photoelectric effect experiment.

### Light-Emitting Diodes (LEDs)

One of the light sources we will be using to observe the photoelectric effect is a set of light emitting diodes (LEDs). Rather than having a narrowly defined spectrum like lasers, the spectrum of light emitted by an LED is spread out around a central value.  The amount of spread is called the bandwidth of the LED.

Testing the photoelectric effect relies on seeing precisely what wavelengths cause electrons to be emitted.  Since we are using a light source that generates a range of wavelengths (the LEDs), this causes a slight problem and messiness with the data.  But we don’t always have ideal equipment in lab!  A large part of this lab will involve determining how to properly deal with our light source.  Eventually we will do the experiment with a nearly monochromatic light source so you will, then, be able to get excellent data and calculate h and the work function very precisely.  Before you’re given such a luxury you have to make the best of this equipment.

## Pre-Lab Preparation Questions

Pre1.	Diffraction Spectroscopy:

There will be many instances in this lab and the next where we will use a diffraction grating to measure wavelengths.  We will usually start by calibrating using a known wavelength.

Light of known wavelength λknown is incident on a diffraction grating and forms a pattern on a screen a distance L away.  The first maximum occurs at position yknown relative to the central maximum.  When light of unknown wavelength λun is incident on the grating, the first maximum occurs at position yun.

- Determine λun in terms of λknown, yknown, and yun.

Pre2.	A Photoelectric Simulation:

Consider the photoelectric effect simulation made by the PhET Interactive Simulations group at University of Colorado, Boulder, available for download at https://phet.colorado.edu/en/simulation/photoelectric.

Set the intensity to 100%, the battery voltage to 0.0 V, and the material to sodium (Na).

- Determine the threshold wavelength, threshold frequency, and work function of incident light.

- Set the wavelength to 300 nm and take some data to show that the photocurrent is directly proportional to intensity.

- Experimentally find the (simulated) stopping voltages for wavelengths of 300 nm and 200 nm and use this to measure h.

With the wavelength set to 200 nm, adjust the battery to the stopping voltage.  Then adjust the wavelength to 300 nm (without adjusting the battery).  The current should still be exactly zero.

- Explain why the voltage shown on the battery does not represent the stopping voltage in this case.  Why are we just reading zero current and not a negative current?  Why is this observation important for when you get into the lab and need to take real data?

## Equipment Notes

### The Spectrometer

To view the spectrum of the LEDs we will use a diffraction grating to separate the wavelengths.  The grating is mounted on an optical bench in front of the LEDs.  At the end of the optical bench is a spectrometer scale - a mountable ruler with a thin opening in the center (to let light through) and slider bars to mark position.

Note:	To properly view the spectrum, you should get your eye right next to the diffraction grating as shown below.

Figure 2: The Spectrometer Setup.

- The setup is fixed at a side table for this week.  Next week we will use this setup much more extensively.

### Optika Photoelectric Effect Setup

Most of the data taken in this lab will use the Optika Photoelectric Effect apparatus shown below.  The LEDs are not dangerous but can get fairly bright, so be careful to not look directly into the LEDs when the power is large.  At the front of the classroom we have displayed a photomultiplier tube setup with the casing removed so you can observe the location and orientation of the photodiode.  [This is not exactly the same as the Optika tube but the design and operational principles are the same.]

Figure 3.  The photoelectric effect experimental setup.

Different LEDs can be inserted to shine on the phototube.

On the control panel, the left display shows the opposing voltage that we will adjust to find the stopping voltage and the right display shows either the power level of the LED as the LED control knob is being turned and it will display the induced photocurrent if the LED control knob is not being used.

It should be noted that the wavelength of an LED is temperature-dependent.  At higher intensities, the LED will heat up and the wavelengths will shift.  Therefore, we recommend that you do not exceed a power setting of L040 in these experiments. Please leave the LEDs off when not in use to prevent the temperature variation.

The particular photodiode we are using in this experiment should have a threshold frequency fth = 4.62×1014 Hz.

### Optika LEDs

The LEDs supplied are purported by Optika to have the following wavelengths:

| LED | Wavelength (nm) |
| --- | --- |
| Blue | 462 ± 10 |
| Green | 533 ± 10 |
| Red | 618 ± 10 |

In reality, the range of light that the LEDs emit is quite a bit larger than the factory specs.  The LEDs plug into the outlet in the middle of the power supply box.  The outlet to the side of the box is for connecting it to a 110 V, 60 Hz outlet.   The knob on the left controls the stopping voltage in the phototube.  The knob on the right controls the power level of the LED which ranges from L000 (which means unpowered) to L100 (which means fully powered).  These just refer to a scale of power supplied to the LED and do not tell you the intensity of the light.

The Optika photoelectric effect equipment has a dial that adjusts the power supplied to the LED.  Turing the right knob allows you to adjust the power from Level 0 (L000) to Level 100 (L100).  However, the power supplied is not proportional to the light intensity output by the LED.  When doing any experiment that requires you to adjust the intensity, you will need a calibration curve that relates the power level to the intensity output.

At the end of this document you will find calibration curves for the three Optika LEDs.

## Reminders and Warnings

### Laser Safety

The red and green laser points in this lab are Class 2 lasers, which means their maximum power output is less than 1 mW.

When turning the laser pointer on, please be very gentle.  Turn the screw slowly just enough to turn on.  It is easy to crank the screw down enough to break the switch.

Do not look directly into the laser or shine the laser into anyone’s eyes.  Please use the screens provided to brick any reflected beams to protect your neighboring groups.  When aligning the lasers with the photodiode, do not bend down to look through the lens, as you will be in danger from the glare reflection of the laser off the lens.  The instructor will provide a demonstration for how to properly align the laser.

### Class 3A Violet Laser Safety Warning!

In this lab we will also use a violet laser pointer (wavelength 405 nm).  This is a Class IIIa laser (as opposed to the Class II red and blue lasers) and has a larger power output than the other lasers even though it may not look as bright.  (Our eyes are poorly attuned to these wavelengths).   From http://www.lasersafetyfacts.com/3R/ :

#### EYE INJURY HAZARD -- DIRECT AND REFLECTED BEAM

Class 3R visible-light lasers are considered safe for unintentional eye exposure, because a person will normally turn away or blink to avoid the bright light. Do NOT deliberately look into or stare into the beam -- this can cause injury to the retina in the back of the eye.

Be aware of beam reflections off glass and shiny surfaces. Depending on the surface, the reflected beam could be about as strong and as focused as a direct beam.

If you notice any stray reflections from your group or any others, alert the group to turn the laser off and call the instructor over.

## Tier 1

### Experiment 1 – Diffraction Gratings

In this experiment we will study the pattern from a diffraction grating and see how we can use gratings to determine wavelength.  This should be a very short experiment and is meant as setup for the spectrometer.

Setup:	Place the diffraction grating in the slide holder and mount it on the optical bench so the red diode laser strikes the grating and forms a pattern on the screen.  Make sure that the central maximum and the two first-order maxima are all visible on the screen simultaneously.

Warning: Make sure the laser light is incident on a screen.  Never look directly though the diffraction grating when you are using the laser.

Observation:	Sketch and describe the pattern that forms.  What happens to the pattern if you rotate the diffraction grating by 90°?  By 180°?

Be sure to move the position of screen so that you can observe both the center and the first-order diffraction maxima.

The central maximum is where we set θ = 0 by definition.

Measure:	Determine the angles of the two first-order maxima (one to the right and one to the left of the central maximum).

Reminder: As always, be sure to include a detailed description of any errors or uncertainties.

Warning!  The small-angle approximation is not appropriate for this setup.

Analysis:	Using the known wavelength of the red diode laser (634.6 nm) and your measurements to estimate the slit density of the diffraction grating (the number of slits-per-unit length).  You should get around 5000 slits/cm.

This is mainly a side calculation - while you can use it in later parts as an intermediate step, you can get away with all other calculations in this part by using the results from Pre1.  Solutions are available on the website.

Measure:	Measure the angles of any higher order maxima that are observable.

Note: Second-order maxima should exist.  It is up to you to determine if third-order or higher maxima exist.  Some of the higher-order maxima will be at angles too extreme to measure with the screen still mounted in an optical bench stand, so you may need to move the screen off the bench.  If you do so you will need to devise and describe a way of accurately measuring distances and/or angles.

Experiment 1 Checkpoint

Call the instructor over to discuss Experiment 1 at this point before moving on.

### Experiment 2 – The Spectrum of the LEDs

Now we will use the diffraction grating to create a spectrometer and use the spectrometer to study the spectrum of our LEDs.

Setup:	Start by setting up the spectrometer so you can observe the Red LED.  There is a clamp at the table that can be used to hold the LED behind the opening in the spectrometer scale.

See Figure 2 for a diagram of the spectrometer setup.  Make sure the spectrometer scale is perpendicular to the optic axis.

Note:  Keep the power of the LED below L020.  Above this the LEDs tend to get painfully bright.  Take care to adjust the brightness level down to a comfortable viewing level.

Observation:	Look through the grating and sketch and describe the full pattern you see on the spectrometer scale.  Be sure to look on both sides of the central opening and at extreme angles.

Note: You should be able to observe more than one set of intensity maxima on either side.

Setup:	Find a comfortable separation distance between the diffraction grating and the spectrometer scale.  Record this separation.

This distance is your judgement call!  We will be taking data on spectral lines so you want to be able to easily and accurately find and measure distances.  This is a balance between having to look at extreme angles and having the spectrum be spread out enough so that your distance measurements can resolve features like the thickness of the observed bands.

Data Collection:	Use the sliders on the spectrometer scale to determine the angle between the central maximum and the near and far edges for the first intensity maxima on either side of the central maximum.

Note: The intensity doesn’t just sharply cut off at a given wavelength as shown in Figure 4 below.  You will need to make a judgement call on what you consider the “edges of the pattern”.  Be sure to describe the criteria you are using and how you are making this judgement call.  You should also be sure to make repeat measurements so that you can get usable statistics.

Note: If your measurements for distance on either side of the central maximum are consistently different, your grating or the spectrometer scale may have been knocked out of alignment.

Figure 4. Finding the “edges” of the LED diffraction patern on the spectrometer scale.

Analysis:	Use your results to determine the wavelength range for the red LED.

Data Collection and Analysis:	Repeat the above steps to find the edges of the green and blue LED spectra.  Again, make sure to keep the power level of the LED low enough to be comfortable.

Experiment 2 Checkpoint

Call the instructor over to discuss Experiment 2 at this point before moving on.

### Experiment 3 – Measuring h and ϕ with LEDs

In this experiment we will look at the photoelectric effect and make measurements of Planck’s constant h and the work function ϕ of the semiconductor in the phototube.

#### 3.1 - Finding Stopping Voltages

Setup:	Use the setup described in the section “The Photoelectric Effect Setup”.

Before carrying out experiments with our setup, it is important to reset potential parasitic currents that may have formed within the circuits.  The offset button turns the LED off and resets the ammeter to zero.  Note that slight variations in the last digit of the anode current readout are caused by small inevitable external disturbances.

Setup:	Set the anode voltage to Va = 0.0 V and push the offset button (hold for 5 seconds).

Alright, let’s take some data!  You are going to be sending light from different LEDs into the setup measuring the stopping voltage.

Setup:	Start with the blue LED and a fixed power level (do not exceed L040).

At zero anode voltage you should find a non-zero reading for the photocurrent due to the emitted photoelectrons striking the anode.  We find the stopping voltage by creating a curve of anode voltage-vs-photocurrent.  A negative anode voltage will slow down the photoelectrons and decrease the photocurrent while a positive anode voltage will attract the photoelectrons and increase the photocurrent.

Sample Data: 	Sample data is shown in Figure 5 below.  Note that a reading was taken at 0.80 V, against the recommendations below.  The stopping voltage is identified here to occur at roughly -0.5 V.

Figure 5.Sample data for the Green LED at intensity L040.

Data Collection:	Collect data of anode voltage vs. photocurrent.  Start your data recording with Va = 0.0 V and then taking the anode voltage negative.  After you have gone past the stopping voltage (where the photocurrent is steadily zero), start to take the anode voltage positive.

Note:  As you near zero photocurrent, be sure to reset the offset/null often.  The offset should be held for at least 5 seconds each time.  This allows us to make sure that our readings are accurate/not shifting.

Note:  For positive anode voltage you are attracting the photoelectrons to the anode.  Do not exceed +0.5 V to prevent over-heating the circuit.

Reminder:  Turn the LED off when not in use to prevent heating.

Data Collection:	Repeat your data collection for the green and red LEDs.

Analysis:	First a quick analysis and estimate.  For each of the LEDs, use your data to roughly determine the stopping voltage.  Plot of the maximum kinetic energy of emitted photoelectrons (in eV)-vs-wavelength (in nm) and add a linear fit.

Note: We are not looking for anything sophisticated in the plot or fit, especially since we have just three data points.

.

Analysis:	Use your rough fit to make an estimation of Planck’s constant and the cutoff frequency.

Experiment 3 Checkpoint

Call the instructor over to discuss Experiment 3 at this point before moving on.

Actual Value of Planck’s Constant:  h=4.136×10-15 eV⋅s,

Actual Cutoff Frequency: f=4.62×10+14 Hz.

- At this point you have taken all the relevant data for this experiment.  The rest of this experiment involves analyzing the data and will take some time.

#### 3.2 - Data Analysis

Now we will do a more careful analysis of our data.

- Wavelengths:  What wavelengths and uncertainties should we use for our LED data?  Explain or justify.

- Stopping Voltage/Max KE:  For each of the data sets, determine the stopping voltage with uncertainty.  Describe how you are using your data to do so, including any necessary analyses.

- Physical Values:  Use the previous results to make a scatter plot of our three data points with uncertainties.  Perform analyses to find Planck’s constant, the work function of the photodiode, and the cutoff frequency, with uncertainties.

## Tier 2

### Experiment 4 – Measuring h and ϕ with Lasers

There is a red, green, and violet laser at your setup.  These obviously have much more well-defined wavelengths.  Use these to again measure h and ϕ.

Note:	You should shine the green and blue lasers through the lens in the mount/setup provided to disperse the light.  You’ll need to fiddle with the alignment of the laser, lens, and phototube to ensure the photodiode is being properly and fully illuminated.

Warning:	The violet laser is a Class IIIA laser and has been set up and aligned on the stand for you.  Always be aware of the reflection of all the lasers (especially the violet laser).  Minimize any reflections.  Do not look directly into/at the laser OR the reflection.  If you notice any stray reflections from your group or any others, turn the laser off and call the instructor over.

Experiment 4 Checkpoint

Call the instructor over to discuss Experiment 3 at this point before moving on.

### Experiment 5 – Photocurrent vs. Intensity

Determine how the photocurrent depends on the intensity of the incident light.

Experiment 5 Checkpoint

Call the instructor over to discuss Experiment 5 at this point before moving on.

## Optika LED Calibration Curves and Data

The table below contains calibration curves for the three Optika LEDs, which were created by mounting the LEDs on the optical bench and shining them into the photodetector from previous labs. The photodetectors were overfilled so the entire photocell was uniformly illuminated.

| Red LED |  |  |  | Green LED |  |  |  | Blue LED |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Power (L0xx) | Intensity (Lux) | Notes |  | Power (L0xx) | Intensity (Lux) | Notes |  | Power (L0xx) | Intensity (Lux) | Notes |
| 0 | 2 | 0-600 |  | 0 | 2 | 0-600 |  | 0 | 2 | 0-600 |
| 13 | 2 | 0-600 |  | 13 | 2 | 0-600 |  | 5 | 2 | 0-600 |
| 14 | 3 | 0-600 |  | 14 | 4 | 0-600 |  | 10 | 2 | 0-600 |
| 15 | 17 | 0-600 |  | 15 | 26 | 0-600 |  | 14 | 2 | 0-600 |
| 16 | 84 | 0-600 |  | 16 | 153 | 0-600 |  | 15 | 10 | 0-600 |
| 17 | 425 | 0-600 |  | 17 | 655 | 0-600 |  | 16 | 70 | 0-600 |
| 17 | 408 | 0-6000 |  | 17 | 645 | 0-6000 |  | 17 | 523 | 0-600 |
| 18 | 1245 | 0-6000 |  | 18 | 1940 | 0-6000 |  | 17 | 512 | 0-6000 |
| 19 | 2740 | 0-6000 |  | 19 | 4200 | 0-6000 |  | 18 | 1980 | 0-6000 |
| 20 | 4570 | 0-6000 |  | 20 | 7190 | 0-6000 |  | 19 | 4870 | 0-6000 |
| 22 | 7250 | 0-6000 |  | 21 | 7510 | 0-6000 |  | 19 | 4802 | 0-150000 |
| 22 | 7232 | 0-150000 |  | 21 | 7500 | 0-150000 |  | 20 | 8540 | 0-150000 |
| 24 | 14000 | 0-150000 |  | 22 | 10900 | 0-150000 |  | 21 | 8990 | 0-150000 |
| 26 | 18600 | 0-150000 |  | 24 | 18067 | 0-150000 |  | 22 | 13990 | 0-150000 |
| 30 | 31285 | 0-150000 |  | 26 | 25800 | 0-150000 |  | 24 | 25500 | 0-150000 |
| 35 | 44410 | 0-150000 |  | 30 | 41100 | 0-150000 |  | 26 | 38000 | 0-150000 |
| 40 | 61000 | 0-150000 |  | 35 | 55900 | 0-150000 |  | 30 | 64600 | 0-150000 |
| 45 | 74400 | 0-150000 |  | 40 | 73800 | 0-150000 |  | 35 | 92000 | 0-150000 |
| 50 | 90600 | 0-150000 |  | 45 | 87000 | 0-150000 |  | 40 | 127000 | 0-150000 |
| 55 | 104000 | 0-150000 |  | 50 | 102700 | 0-150000 |  | 45 | 154500 | 0-150000 |
| 60 | 120000 | 0-150000 |  | 55 | 114600 | 0-150000 |  | 47 | 168000 | 0-150000 |
| 65 | 133000 | 0-150000 |  | 60 | 129000 | 0-150000 |  | 50 | Saturated | Saturated |
| 70 | 148000 | 0-150000 |  | 65 | 139600 | 0-150000 |  |  |  |  |
| 75 | 163000 | 0-150000 |  | 70 | 152150 | 0-150000 |  |  |  |  |
| 80 | Saturated | Saturated |  | 75 | 164300 | 0-150000 |  |  |  |  |
|  |  |  |  | 80 | Saturated | Saturated |  |  |  |  |

For the photodetector being used, the following maximum and minimum output readings were determined:

| Photodetector Setting | Minimum Reading (Lux) | Maximum Reading (Lux) |
| --- | --- | --- |
| 0-600 | 2 | 769 |
| 0-6000 | 22 | 8445 |
| 0-150000 | 507 | 169000 |

Above readings of around 169000 lux on the 0-150000 setting the photodetector saturates.

Figure X.  Clockwise from top-left:  Graphs of LED Power-vs-Measured Intensity for the Red, Green, and Blue LEDs.

It may seem obvious now that this is because negatively-charged electrons were being emitted but keep in mind that electrons weren’t even identified or properly “discovered” until J. J. Thompson’s work in 1899!

We speak of a maximum kinetic energy because the photoelectrons are emitted with a range of kinetic energies.  The maximum kinetic energy also happens to be a relatively easy and convenient quantity to measure!